## Slide 1: Power measurement of battery chargers
Presented by Keith Jones at TC 100 AGS 21st May 2014.

## Slide 2: Typical battery charging systems include
Electronic devices with a battery that are normally charged from AC mains power or a DC input voltage through an external power supply and/or a dedicated battery charger;
the battery and battery charger components of devices that are designed to run on battery power during part or all of their operations;
dedicated battery systems primarily designed for electrical or emergency backup;
devices whose primary function is to charge batteries These units include chargers for power tool batteries and chargers for automotive, AA, AAA, C, D, or 9 V rechargeable batteries, as well as chargers for batteries used in larger industrial motive equipment.

## Slide 3: range of products which include or use battery chargers
Consumer electronics and ICT products
Commercial and industrial equipment and instruments
Electric vehicles
Uninterruptable power supplies
Emergency lighting and security systems.

## Slide 4: Battery Charger Energy Use and Potential Energy Savings
The energy used by battery chargers is has been estimated to be approximately 2% of the USA electricity usage. It is also estimated that this energy use could be reduced by approximately 30% at reasonable cost using readily available technology.
In Australia around 15 million products involving battery chargers are sold annually. The majority of these are consumer electronic products
It Australia is estimated that the annual energy consumption for battery chargers is 3,370.
typical battery charger is only around 13% efficient when charging over a 24 hour period and there is wide variation in the efficiency of existing chargers.
It is estimated that in Australia around 5,300 GWh (4.4 Mtonnes CO2) could be saved over a ten year period from improvements of battery charger efficiency.

## Slide 5: Battery Charger Energy Programmes
USA
  Energy Star
  Department of Energy (DOE)
  California Energy Commission (CEC)
Korea
Australia/New Zealand currently preparing a Regulatory Impact Statement with the aim of introducing regulation

## Slide 6: Small Consumer and Non Consumer Battery Chargers.
Small Consumer | Auto/Marine/RV
 | Mobile Phones
 | Cordless Phones
 | Personal Audio Electronics
 | Emergency Systems
 | Laptops
 | Personal Care
 | Personal Electric Vehicles
 | Portable Electronics
 | Portable Lighting
 | Power Tools
 | Universal Battery Charger
 | Golf Carts/Electric Carts
Small Non-consumer | Emergency Backup Lighting
 | Handheld Barcode Scanners
 | Two-Way Radios

## Slide 7: Proposal
An international standard for the measurement of power consumption for battery chargers will assist development of Schemes to improve battery charger efficiency and energy consumption.
The standard should cover single phase small consumer and non consumer battery chargers.
The standard should be compatible with current regional test methodologies.
Should External Power Supplies also be covered?